Basic Electrical Engineering Lab

|  |  |  |
| --- | --- | --- |
| 1 | Basic Electrical Engineering Lab | Ohms Law kit |
| 2 | Basic Electrical Engineering Lab | KVL and KCL kit |
| 3 | Basic Electrical Engineering Lab | Transient Response of Series RL and RC circuits using DC excitation kit |
| 4 | Basic Electrical Engineering Lab | Transient Response of RLC Series circuit using DC excitation kit |
| 5 | Basic Electrical Engineering Lab | Resonance in series RLC circuit kit |
| 6 | Basic Electrical Engineering Lab | 1-φ Variac |
| 7 | Basic Electrical Engineering Lab | Voltmeter (0-300V) |
| 8 | Basic Electrical Engineering Lab | Ammeter (0-1/5)A |
| 9 | Basic Electrical Engineering Lab | Decade R, L, C boxes |
| 10 | Basic Electrical Engineering Lab | Transformer 230V/115V |
| 11 | Basic Electrical Engineering Lab | Ammeter (0-1) A- MI |
| 12 | Basic Electrical Engineering Lab | Voltmeter(0-150)V-MI |
| 13 | Basic Electrical Engineering Lab | EDM wattmeter 150v/1A |
| 14 | Basic Electrical Engineering Lab | Variac 230v |
| 15 | Basic Electrical Engineering Lab | 3-φ induction motor |
| 16 | Basic Electrical Engineering Lab | Voltmeter(0-600)V-MI |
| 17 | Basic Electrical Engineering Lab | Ammeter (0-10) A- MI |
| 18 | Basic Electrical Engineering Lab | 3- φ Variac 440V/0-470V/20A |
| 19 | Basic Electrical Engineering Lab | Watmeter (UPF) 660V/10A |
| 20 | Basic Electrical Engineering Lab | DC Shunt motor |
| 21 | Basic Electrical Engineering Lab | Ammeter (0-25) A- MC |
| 22 | Basic Electrical Engineering Lab | Ammeter (0-2) A- MC |
| 23 | Basic Electrical Engineering Lab | Voltmeter(0-300)V-MC |
| 24 | Basic Electrical Engineering Lab | Rheostat 360Ω /1.2 A |
| 25 | Basic Electrical Engineering Lab | Tachometer( Digital) |
| 26 | Basic Electrical Engineering Lab | Voltmeter (0-300V) MI |
| 27 | Basic Electrical Engineering Lab | EDM: Watmeter LPF 150V/1A |
| 28 | Basic Electrical Engineering Lab | Choke 80W/0.5A |
| 29 | Basic Electrical Engineering Lab | 3- φ Altretor |
| 30 | Basic Electrical Engineering Lab | Voltmeter (0-600V) MI |